## Meter Data Report
timestamp | frequency_hz | power_percentage | instantaneous_power_kw | engine_hours | rpm | phase_a_voltage_v | phase_a_current_a | phase_b_voltage_v | phase_b_current_a | phase_c_voltage_v | phase_c_current_a | coolant_temp_c | oil_temp_c | intake_air_temp_c | oil_pressure_kpa | boost_pressure_kpa | fuel_level_percent | fuel_rate_lph | battery_voltage_v | alarm_emergency_stop | alarm_low_oil_pressure | alarm_high_coolant_temp | alarm_low_coolant_level | alarm_crank_failure
2025-04-25 18:06 | 60.5 | 76 | 45.6 | 1234.5 | 1500 | 230 | 15.2 | 230 | 15.2 | 230 | 15.2 | 85 | 95 | 42 | 240 | 145 | 67 | 12.3 | 13.5 | No | Yes | No | No | No
2025-04-25 18:06 | 60.5 | 76 | 45.6 | 1234.5 | 1500 | 230 | 15.2 | 230 | 15.2 | 230 | 15.2 | 85 | 95 | 42 | 240 | 145 | 67 | 12.3 | 13.5 | No | Yes | No | No | No
2025-04-25 18:06 | 60.5 | 76 | 45.6 | 1234.5 | 1500 | 230 | 15.2 | 230 | 15.2 | 230 | 15.2 | 85 | 95 | 42 | 240 | 145 | 67 | 12.3 | 13.5 | No | Yes | No | No | No